## Slide 2
Presentation Outline
Objectives
Deliverables
Final Design
                Designs | Exploded View.
Production Plan
Currents Tasks | Next Tasks
Accomplished Tasks
Notes: 10/13/2020
2

## Slide 3: Synthetic Hydro-Experimental Machine
Notes: Our project is based on the synthetic hydro-experimental machine currently present in JKUAT Fluid lab shown in the slide.

## Slide 4
Introduction: Objectives
Main Objective
  To automate the discharge collection process of the Synthetic Hydro-Experimental Machine.
Specific Objectives
  To design an automated discharge flow control unit that can turn the ball valve in steps of less than 10 and divert the flow in less than 1 second.
  2. To design and fabricate a discharge handling unit with automated weight, time, and temperature measurements, and a discharge collection tank that can discharge in the shortest time possible.
  3. To design a graphical user interface and a robust control algorithm to integrate the units

## Slide 5: Deliverables
A discharge flow control mechanism that can turn in steps of less than 1 degree.
A diversion mechanism that can divert in less than a second
A discharge collection tank can collect more than 0.02m3 of the discharge.
A weight measurement device with a gauge factor of more than 2
A graphical user interface for controlling the system and displaying the results

## Slide 6: Final Design

## Slide 7: Final Design

## Slide 8: Final Design: Electrical
LA-T8 Micro-linear actuator
MG996R Servo motor
50Kg Strain-type load cells

## Slide 9: Production Plan

## Slide 10: Tasks Accomplished
STM32F407VET6
LCD Touch 320*240(ILI9341)
Load Cells (50Kg)
PLA (2.85mm)

## Slide 11: Tasks Accomplished