## Slide 2
Presentation Outline
Abstract
Introduction
Background, Problem Statement, Objectives, Justification
Literature Review
  Existing Technologies
  Related Works
  Gaps
Proposed Methodology
Expected outcomes
Proposed Budget and Time plan
Notes: 10/13/2020
2

## Slide 3: Synthetic Hydro-Experimental Machine

## Slide 4
Introduction: Background
Fluid flow measurement
    Quantifying a property of an uninterrupted flow.
Flow meters
    Turbine flow meter, rotameter, venturi, and orifice.
    Bernoulli’s Theorem.
Synthetic Hydro-Experimental Machine
    Consists of venturi, and orifice
    Establishing a relationship between discharge, differential pressure, and the coefficient of discharge.
    Experiment procedure
Notes: Fluid flow property measured and related to the flow. (relating pressure to the flow)
Each flow meter alter a physical property and the measures the change.
Bernoulli’s theorem – an increase in the velocity of a fluid occurs simultanously with a decrease in static pressure.
Procedure

## Slide 5
Introduction: Problem Statement
Fluid flow experiments required one to synchronize discharge collection with time and temperature measurement.
Current state of the Synthetic Hydro-Experimental Machine.
      Determination of steps based on human intuition
      Discharge collection synchronization by a minimum of two operators
      Incremental weight measurement.
      Results in Cd outside the tolerable range.
Automated Synthetic Hydro-Experimental Machine
      Precise discharge flow control.
      Automated discharge collection.
      Automate discharge weight and temperature measurement.

## Slide 6
Introduction: Objectives
Main Objective
  To automate the discharge collection process of the Synthetic Hydro-Experimental Machine.
Specific Objectives
  To design an automated discharge flow control unit that can precisely discharge in steps.
  To design and fabricate a discharge collection unit with automated weight, time and temperature measurements.
  To design a user interface and the control algorithm.

## Slide 7
Literature Review: Existing technologies
Computational Fluid Dynamics
Powerful modeling and analysis technique of non-linear differential equation of fluid flow properties.
Tukimin et al developed a CFD model to determine the coefficient of discharge of the Venturi. They compared the results to those obtained from a physical experimental setup.
The results showed a 1% difference.
Analytical Predictions
Utilizes Bernoulli’s equation.
Assumptions - Flow is linear.
    - Flow is incompressible.
    - The flow is steady
    - No losses.

## Slide 8
Literature Review: Related Works
Electromagnetic Activation
Automated Water Sampler
Angelo et al
Water sample collection
  - Actuation mechanism >
  Pneumatics
  Power of compressed air for actuation
  Sangmin and Joonwon
  - Dispensing doses

## Slide 9: Literature Review: Gap Analysis
CFD
  - undermines credibility of the experiment.
  - Computational resource intensive (ANSYS).
Analytical
- Tedious computations
- Assumptions
Synthetic Hydro-Experimental Machine.
- Mechanical and manual.

## Slide 10
Methodology: Discharge Flow Control
Requirement: Discharge in precise steps
Utilizes the existing ball valve.
Actuation Mechanisms
Stepper Linear Actuator
Piezoelectric Actuator
Considerations
Torque requirements
Step size

## Slide 11
Methodology: Discharge Flow Control

## Slide 12
Methodology: Dischare collection unit
Flow Diversion Sub-unit
Requirements: - Fast response
- Minimal Splashes
Consist of a flap and an actuation mechanism.
Considerations: Size, shape, material
Actuation mechanisms: Motor, electromagnets.
Discharge collection tank
Requirements: - elevation utilizes gravity
- Minimal environmental effect.
Considerations: - Position
- Insulation
- Shape
Outlet valve.
  Requirement: faster discharge
  Considerations: Position and size.
  Weight Measurement
    Approaches: Ultrasonic, Load cells
    Considerations: Reliability
    Temperature measurement
      Approaches: Contact and non contact
      Considerations: - Sensitivity.
      - Reliability.

## Slide 13
Methodology: Interface and Control
Processing Unit.
    GPIOs
    Processing power
Interface.
    Ergonomics.
    Size.
    Aesthetics.

## Slide 14: Methodology: Control Cont…

## Slide 15
Expected Outcomes
Discharge flow control
- Can turn the ball valve in precise steps.
- Accuracy of the steps is to the nearest whole number.
Discharge collection unit
- Synchronized discharge collection with temperature and weight measurements.
Flow diversion unit
- Accurate collection of the stream within the time interval.
Discharge collection tank.
- Correctly shaped for accurate weight measurement.
- Utilize gravity to eliminate the need for an extra pump.
Control and display
- Ergonomic Display
- Capable board

## Slide 16
Time plan

## Slide 17
Budget